Engineering - Landscape Architecture - Surveying
7 Waldo Street, St. Augustine, FL 32084 | 904.826.1334 | www.matthews.dccm.com
mdg.cei@dccm.com
LICENSE #26535, LB8590, LA6666877
Matthews	
24015 Double Branch COD
Field Report #1 2024-12-02

General Information

Project Name	24015 Double Branch CDD

Prepared By	Mike Silverstein

Date Of Visit	12/02/2024 2:03 PM EST

Date Prepared	12/02/2024 EST
Weather	Clear	Temp	61

Site Conditions	Date of Last Report	N/A

Present at Site

Site Notes

Mike Silverstein December 2, 2024 2:20 PM EST Report revised per CDD boundary.

Corrected since last report

N/A

Observations
•·Mi@i-ti

1	Structure functioning as designed.
4	Structure operating as designed.
Structure operating as designed.

Structure operating as designed.
8	Structure operating as designed.

Matthews	
24015 Double Branch COD
Field Report #1 2024-12-02

Map Overview

I
J '

Matthews

5	Observation

Created by:
24015 Double Branch COD
Field Report #1 2024-12-02

Pin Type: General

Categories:
i·Mii,ii·i
Location:
Mike Silverstein
Senior Construction Inspector
Sep 13, 2024 at 8:56 am EST

StreetMap Improve this map © Maxar

Notes:
Mike Silverstein September 13, 2024 8:56 AM EST Structure operating as designed.
Photos:

Matthews	
24015 Double Branch COD
Field Report #1 2024-12-02

6	Observation

Pin Type: General

Categories:
i·Mii,ii·i
Location:

Notes:
Mike Silverstein September 13, 2024 8:57 AM EST Structure operating as designed.

Photos:
Created by:
Mike Silverstein
Senior Construction Inspector
Sep 13, 2024 at 8:57 am EST

Matthews

•

7	Needs Action

Created by:
24015 Double Branch COD
Field Report #1 2024-12-02

Pin Type: General

Categories:
@4\ii-Hi\fl	Misc
Location:

Notes:
Mike Silverstein
Senior Construction Inspector
Sep 13, 2024 at 9:08 am EST

Mike Silverstein  September 13, 2024 9:08 AM EST
Animal burrow found on pond bank - Consult with environmental on animal species (possible gopher tortoise) or if active.

Photos:

Matthews

•

8	Observation
24015 Double Branch COD
Field Report #1 2024-12-02

Created by:
Ryan Morgan
Pin Type: General

Categories:
i·Mii,ii·i
Location:
CEI Field Technician
Sep 16, 2024 at 8:35 am EST

Notes:

Ryan Morgan September 16, 2024 8:35 AM EST Structure operating as designed.
Photos:

Matthews

•

11	Needs Action
24015 Double Branch COD
Field Report #1 2024-12-02

Created by:
Ryan Morgan
Pin Type: General

Categories:
i·Mii,ii·i iMfoi
Location:
CEI Field Technician
Sep 13, 2024 at 9:18 am EST

Notes:

Ryan Morgan September 13, 2024 9:18 AM EST
Possible clog at both curb inlets, storm water staging up into gutter and roadway.

Photos:

Matthews

•

13	Needs Action

Created by:
24015 Double Branch COD
Field Report #1 2024-12-02

Pin Type: General

Categories:
@4\ii-Hi\fl	Misc
Location:
Mike Silverstein
Senior Construction Inspector
Sep 13, 2024 at 9:28 am EST

Notes:
Mike Silverstein September 13, 2024 9:28 AM EST
Animal burrow - Consult with environmental on animal species (possible gopher tortoise) - Mentioned in Item #7.

Photos: